## Slide 1: LATEST RESULTS ON DARK MATTER AXIONS WITH CAST-CAPP
10/08/2022
Marios Maroudas
on behalf of the CAST Collaboration

## Slide 2
AXIONS
Inverse Primakoff effect:
Coupling to photons:
Dark Matter
Strong CP prob.
Axion Characteristics:
Pseudo-Goldstone boson.
No charge.
Small mass:
Weakly interacting.
Local density:
Axions convert to photons in a strong magnetic field!
CAST
1 / 17
CP problem
DM

## Slide 3
AXION HALOSCOPES a la Sikivie
For CAST-CAPP:
The on-resonance axion conversion power in a microwave cavity is:
Mode frequency:
Rectangular Cavities:
Higher frequencies
smaller cavities
α
γ
X
Bext
P. Sikivie
2 / 17

## Slide 4
Axion Helioscope
(Solar Axions)
2019
~43mm twin bores
CAST-CAPP
CAST-RADES
LHC prototype
9T magnetic field
1.8K temperature
9.25m magnetic length
DM Axion detectors
(CAPP, RADES)
Photon detector
(Micromegas)
Force sensor
(KWISP)
B
X
α,ch.
γ
γvirtual
CAST EVOLUTION
Axion Haloscope
(Dark Matter Axions)
3 / 17
https://doi.org/10.1038/nphys4109

## Slide 5
4 identical stainless steel tunable cavities electroplated with ~30μm of copper installed in one of the two twin bores of CAST magnet with the split plane parallel to the magnetic field.
CAST-CAPP cavities
Longitudinally split into two identical halves.
4 / 17
55 cm

## Slide 6
Increase the sensitivity via coherent combination of the power outputs of each frequency-matched cavity after individual signal amplification.
Frequency accuracy: ±10 kHz
Amplitude accuracy: ± 0.25 dB
Phase accuracy: ± 1o
PHASE MATCHING
No phase-matching:
With phase-matching:
FIRST & UNIQUELY applied at CAST-CAPP!
5 / 17
https://doi.org/10.1016/j.astropartphys.2017.10.012
FMT ~ 105 kHz

## Slide 7
Tuning mechanism: 2 dielectric sapphire bars symmetrically placed parallel to the longitudinal sides, moving simultaneously towards the center and activated by a piezoelectric motor.
Axion mass unknown  Tuning is required
xion
6 / 17
2 Sapphire plates
Frequency range: ~4.8 – 5.4 GHz (660 MHz)
Axion mass range: ~19.7 – 22.4 μeV
Resolution: 100 Hz
Max piezo speed: 10 MHz / min

## Slide 8
CAST-CAPP is ALSO sensitive to transient events such as streams, mini clusters etc.
Gravitational (self-)focusing  Flux enhancement!!
Fast scanning
Wide band electronics
Fast analysis & elimination procedures
Maximum duty cycle
Current piezo speed:
(10 MHz / min)
The faster the scanning the shorter axion burst can be probed
WAIT... There is more!
7 / 17
(see talks by A. Kryemadhi & K. Zioutas)

## Slide 9
Data acquisition system installed on CAST magnet and allows a fast semi-autonomous data-taking for 20 h / day.
ONLY 37 instruments!
DAQ SYSTEM
Transmission measurement through VNA:
TE101
1-min measurements
Bandwidth = 5 MHz
Tuning step size = 200 kHz
Size = ~ 3 GB / file !!
CERN Tape Archive (CTA) storage
Daily offloading/uploading
Daily processing
Daily analysis
8 / 17

## Slide 10
RESULTS:
Data-taking time: 4124 h (172 d)
Frequency range: 660.15 MHz
Axion Masses: 4.77 - 5.43 GHz
Data size: ~ 650 TB !!
QUALITY CHECKS:
Total discarded Files: (~4.4%)
Phase-matching of all four cavities.
Fast resonance scanning.
Unexplored parameter space.
DATA taking Results
Data Processing: FFT
Time domain
I(t), Q(t)
Frequency domain
I(f), Q(f)
RBW = 50 Hz
9/ 17

## Slide 11
IF interference check:
DATA ANalysis
Spectrum Flattening:
Combining multiple spectra:
Divide spectrum by SG filter output to remove noise baseline of processed spectra
Constant index, narrow line.
Flagged IF bins are discarded.
Scaling of the spectra by Pnoise/Paxion to get the correct axion SNR according to noise param.
Vertical averaging on RF axis with weights by ML estimates.
Normalization of bins to have μ=0, σ=1.
Rebinned spectrum:
Increase the SNR of an axion signal with the expected linewidth of a 7 kHz axion (5 bins).
Horizontal averaging of 28 adjacent bins with ML weights (50 Hz x 28 = 1.4 kHz).
Grand spectrum:
Convolution with expected axion signal shape in the lab frame.
10 / 17
RBW = 50 Hz
RBW = 1.4 kHz

## Slide 12
Blind injection of well-defined “fake” axion signals.
Identification from analysis + stability and calibration.
Behavior and characteristics as expected.
Hardware and software SIGNAL INJECTIONS
Monte Carlo synthetic axion signal:
Injected power:
Should be visible after 90-min averaging
110-min of data generated
Hardware Injections:
11 / 17

## Slide 13
Magnet body acts as a Faraday cage.
Outside-the-cryostat connections are unprotected.
BUT… What about ambient intended/unintended emitters?
GOOD NEWS:
Margin of ~30 dB above the noise!
No signal observed
12 / 17
(see talk by Fritz Caspers)

## Slide 14
Solution A:
Simultaneous measurements at the same frequency band with a second independent channel looking for ambient EMI/EMC signals in the CAST area.
Important for signal identification & characterization
BUT… What about ambient intended/unintended emitters?
Solution B:
Disabling of intervening WLAN channels in 5GHz band of the surrounding Aps.
(5.25 GHz –> 5.29 GHz)
(5.25 GHz –> 5.29 GHz)
Second vector spectrum analyzer connected to an omnidirectional antenna
BEFORE
AFTER
13 / 17

## Slide 15
40 statistical outliers (false-positives).
11 verified as blind signal injections.
9 verified as EMI/EMC parasites.
No remaining outliers!
Elimination Procedure:
Blind signal injections?
No EMI/EMC parasite in 2nd channel.
Persistence during re-scanning.
Re-scanning with different cavities.
Tuning to different resonant mode.
Correct axion line shape (5-7 kHz).
Signal ∝ B.
DATA Analysis – hypothesis testing steps
Target SNR = 5 σ
Confidence Level: 90%
Threshold: 3.72 σ
60 outliers
14 / 17
BEFORE
AFTER

## Slide 16
Total data-taking time: 4124 h (172 d)
Data size: ~ 650 TB
Frequency range: 660.15 MHz
Axion masses: 19.74 μeV - 22.47 μeV
Present sensitivity:
Confidence level: 90 %
Total uncertainty: 7.4%
DATA Analysis – exclusion plot
15 / 17
No DM halo axions here…

## Slide 17
Minimal flux enhancement: 102
SUMMARY & Novelties
16 / 17
A previously unexplored parameter space has been scanned to extend axion search towards larger rest mass values (19.74 - 22.47 μeV).
Use of a dipole magnet as a DM axion haloscope.
No mode crossings over the entire tuning range for the mode of interest.
Four identical cavities coherently combined through phase-matching to increase SNR for the first time in DM axion search.
State-of-the art tuning mechanism gives a wide mass range (~ 660 MHz)  up to 1 GHz.
Novel fast-scanning technique to investigate transient events and exclude outliers faster.
Introduction of a second simultaneous recording channel for EMI/EMC parasites.
New approach and analysis for transient events and search for signal modulations.
Streaming axions:
Halo axions:

## Slide 18
THANK YOU!
AXION HUNTING PERIOD IS STILL ON!!
corner
17 / 17

## Slide 19
BACKUP SLIDES

## Slide 20
DATA ANalysis
Combining multiple spectra:
Scaling of the flattened spectra by Pnoise/Paxion to account for the fact that an axion signal would not have the same amplitude across the flattened spectrum.
Spectra aligned to RF index = vertical averaging with weights = inverse bin variances.
Normalization of the combined spectrum to have a standard sample distribution. Each bin of the combined spectrum is divided by its standard deviation  μ=0, σ=1

## Slide 21
DATA ANalysis
Combined Spectrum

## Slide 22
DATA ANalysis
Grand spectrum:
Convolution: Application of a window function with the shape of the expected axion power curve in the lab frame.
Variation across the CAST-CAPP frequency range. ~8% variation in signal amplitude and width.
Galactic vs. lab frame. 4.3 kHz signal width in galactic frame and 7 kHz in the lab frame.

## Slide 23
Fine grained streams:
DM could be a superposition of many fine-grained streams.
Consequence from the collisionless character and the coldness of CDM.
Each such stream has a very small velocity dispersion.
~1014 streams in the solar neighborhood.
Half of the local DM density is comprised of the 106 most massive streams.
The most massive individual stream contributing a 0.1% to the local DM density.
Streaming dark matter

## Slide 24
Conventional halo DM:
Streaming DM: For low-speed ( ) streams aligned with SUN  EARTH:
Streaming DM: Earth’s self-focusing effects due to intrinsic mass:
Streaming DM: Other solar system bodies e.g. the Moon:
NEW APPROACH:
Wide frequency range.
Short scanning time per frequency.
Maximum duty cycle.
NO direct detection so far..
Streaming dark matter

## Slide 25
New procedure for transient events such as axion streams or axion-mini clusters.
Second measurement channel is decisive for such searches.
Example measurement for 4.5h on 24/11/2020 (19:19 – 23:53 local time).
Fast scanning method over 42 MHz (5.3547 GHz – 5.3967 GHz).
Combined spectrum (RBW = 50Hz) shows no lines above 5σ threshold.
”Local” exclusion plot assuming axion streams with modest flux enhancement 102 – 104.
Future tests with even smaller RBW including also raw IQ data in time-domain.
Streaming dark matter

## Slide 26
Streaming dark matter