## Slide 1
Center for Fundamental Physics (CFP)
Collaborators
Andrew Geraci, Chloe Lohmeyer, Nancy Aggarwal
Asimina Arvanitaki, Aharon Kapitulnik , Alan Fang
Josh Long, Chen‐Yu Liu, Mike Snow, Inbum Lee, Justin Shortino , Yannis Semertzidis, Yun Shin, Dongok Kim, Youngeun Kim, Yong‐Ho Lee, Lutz Trahms, Wolfgang Kilian, Allard Schnabel, Jens Voigt
Axion Resonant InterAction DetectioN Experiment (ARIADNE)
PATRAS 2022, Mainz, Germany, Aug 8-12
A. Geraci for the ARIADNE collaboration

## Slide 2: Axions
Light pseudoscalar particles in many theories Beyond Standard model
Peccei-Quinn Axion (QCD) solves strong CP problem
Dark matter candidate
R. D. Peccei and H. R. Quinn, Phys. Rev. Lett. 38, 1440 (1977);
S. Weinberg, Phys. Rev. Lett. 40, 223 (1978);
F. Wilczek, Phys. Rev. Lett. 40, 279 (1978).
J. E. Moody and F. Wilczek, Phys. Rev. D 30, 130 (1984).
Can be sourced locally
No cosmological assumptions!
Also mediates spin-dependent “fifth-forces”
at short range (down to 30 µm)

## Slide 3
 | Photons | Nucleons | Electrons
Dark Matter (Cosmic) axions | ADMX, HAYSTAC, CAPP, ORGAN, DM Radio, LC Circuit, MADMAX | CASPEr | QUAX
Solar axions | CAST IAXO |  | 
Lab-produced axions | Light-shining-thru- walls (ALPS, ALPS-II) | ARIADNE | 
Coupling
Source
Axion and ALP Searches

## Slide 4: QCD axion parameter space
ma ~ LQCD2 / fa
Possible couplings: Gluons, photons, fermions

## Slide 5: Axion-exchange between nucleons
Scalar coupling qQCD
Pseudoscalar coupling
Monopole-monopole
Monopole-dipole
dipole-dipole
Axion acts a force mediator between nucleons
N
N
axion mass search range: 100 µeV < ma < 10 meV

## Slide 6: Spin-dependent forces
Monopole-Dipole axion exchange
mf
s
r
Different than ordinary B field
Does not couple to angular momentum
Unaffected by magnetic shielding
Fictitious magnetic field
la > 30 mm
ma < 6 meV

## Slide 7: Concept for ARIADNE
Unpolarized (tungsten)
segmented cylinder sources Beff
Laser Polarized 3He gas senses Beff (Indiana U)
SQUID pickup loop measures resulting precessing nuclear magnetization (CAPP)
Superconducting shielding to screen
magnetic backgrounds (Stanford)
Applied Bias field Bext
Limit: Transverse spin projection noise
Arvanitaki and A. Geraci., Phys. Rev. Lett. 113, 161801 (2014)
A. Geraci et.al, arxiv: 1710.05413 (2017),
Notes: Similar techniques used in short-range gravity experiments

## Slide 8
Projected Sensitivity
[3] G. Raffelt, Phys. Rev. D 86, 015001 (2012)] [4] G. Vasilakis, et. al, Phys. Rev. Lett. 103, 261801 (2009).
[5] K. Tullney,et. al. Phys. Rev. Lett. 111, 100801 (2013) [6] P.-H. Chu,et. al., Phys. Rev. D 87, 011105(R) (2013).
[7] M. Bulatowicz, et. al., Phys. Rev. Lett. 111, 102001 (2013), [8] Lee, et.al. Phys. Rev.Lett. 120, 161801 (2018).
A. Arvanitaki and AG., Phys. Rev. Lett. 113,161801 (2014).
[3]
[4],[5],[6],[7],[8]

## Slide 9: Experimental setup
Tungsten source mass rotor
11 segments
100 Hz nuclear spin precession frequency
2 x 1021 / cc 3He density
3 mm x 3 mm x 150 µm volume
Separation ~200 µm
source mass
3.8 cm diameter
Chart: 3He hyper-polarization
Metastability exchange optical pumping
field on
Laser-polarized 3He sensor

## Slide 10: Quartz Sample Block Assembly
Fabrication in process- Sierra optics, inc.
Half-spheroid pocket
Assembly for 3He filling
Nb shield

## Slide 11: Experimental challenges
1/2
Spin-speed stability of rotary stage
Wobble/vibration of source mass (in progress)
Magnetic shielding factor tests for thin film Niobium
Tests for Magnetic impurities in Source mass
Trapped flux noise in Nb films, noise in squid loops (in progress)
Design/Simulation Work: Magnetic gradient reduction strategy
Testing completed
or in process:

## Slide 12: Backgrounds and noise tests
Magnetic impurities test - tungsten source mass
Superconducting shielding test
Low-field, high-resolution optical magnetometry
Meets spec for design sensitivity
Consistent with Johnson noise plus a few (3) isolated surface magnetic domains
N. Aggarwal, et.al., Phys Rev Research (2021)
Essential for eliminating magnetic backgrounds
(Johnson noise, magnetic susceptibility, impurities, Barnett effect)
Testing: sputtered Nb on quartz tubes
w/supplemental Pb foils
~108 achieved
Meets spec for design sensitivity
H. Fosbinder-Elkins, Y. Kim, J. Dargert et.al. Quantum Sci. Technol. 7 014002 (2022).

## Slide 13
Rotary stage stability test
Preliminary Benchtop optical test
wobble ~ +/- 40um
Interferometers
Design spec: rotation “wobble” < 50 um
Monitored in-situ with fiber optic interferometers
fibers
Rotation speed control
8.3 Hz ~ 1 part in 10000
RMS ~ 1 part in 3000
Allows utilization of T2 > 100s
Preliminary benchtop optical test
wobble ~ +/- 40um
Within factor of 2 of spec for design sensitivity
Balancing/wobble improvements in process
Backgrounds and noise tests

## Slide 14: Conclusion
ARIADNE experiment: Fifth-force NMR search for QCD axion
 lab-sourced search sensitive to QCD axion in under-explored mass range
100 µeV < ma < 10 meV
 No need to scan mass, independent of local DM density
 Complementary to neutron, proton EDM searches
 Covers entire QCD axion parameter space when combined with haloscope and helioscope experiments
Estimated Timeline:
Cryostat completion: Fall 2022
Commissioning/
early data taking: 2023

## Slide 15
Group Members (left to right): Chloe Lohmeyer (G), Evan Weisman (PD), George Winstone (PD), Nancy Aggarwal (PD), Cris Montoya (PD), Daniel Grass (UG), Chethn Galla (G), Eduardo Allejandro (G), William Eom (G), Andy Geraci (PI)
Acknowledgements
Geraci Lab 2017
Geraci Lab Summer 2018
Collaborators (GW):
Peter Barker (UCL)
Astro Theory: Asimina Arvanitaki (Perimeter)
Masha Baryakhtar (Perimeter)
Mae Hwee Teo (Stanford)
Shane Larson (NU)
Vicky Kalogera (NU)
Alexey Grinin (PD), Nia Burrell (G), Shelby Klomp (G), Aaron Wang (G), Andrew Laueger (UG), Huan Zhang (G)