## Slide 1
Towards High-Precision Spectroscopy
of the 1S–2S Transition in He+
Jorge Moreno
Fabian Schmid
Akira Ozawa
Johannes Weitenberg
Theodor. W. Hänsch
Thomas Udem
PREN2023, Mainz
26, June 2023
Max Planck Institute of Quantum Optics, Germany
MAX PLANCK INSTITUTE OF QUANTUM OPTICS

## Slide 2
Spectroscopy of the 1S–2S Transition in He+
Trapped and cooled target  smaller systematics
QED test for Z=2 system
Frequency comb spectroscopy in XUV (extreme ultraviolet) wavelength
Difference from Hydrogen spectroscopy:
2 x 60.8 nm
1S
2S
2P
Γ ≈ 2π × 84 Hz
He++

## Slide 3
QED for He+
Parameters | Contribution to Uncertainty (He+ 1S2S)
 | 2x10-12 (19 kHz )
 | 6x10-12 (61 kHz)
 | 5x10-15 (45 Hz)
 | 2x10-14 (166 Hz)
m-He spectroscopy
J. Krauth et al. Nature (2021)
Mass ratio measurements
in Penning trap
Atomic recoil (atom interferometer)
g-2 measurement
Hydrogen spectroscopy
m-H + H (1s-2s), CODATA2018
State energy in
SI units (m-1)
Rydberg
constant
Fine structure constant
Nucleus/electron mass ratio
Normalized nuclear charge radius
Rydberg constant
Nuclear charge radius
Fine structure constant
Nucleus/electron mass
45% larger uncertainty
In Pachucki et al.
arXiv (2023)

## Slide 4
Uncertainty due to QED theory for He+ 1S-2S transition
Total QED uncertainty : 36 kHz (4x10-12) (preliminary)
Contribution | Uncertainty (in kHz)
Relativistic Recoil | 0
Nuclear Polarizability | 3
Self Energy | 0
Vacuum Polarization | 1
Two Photon Corrections | 32
Three Photon Corrections | 9.5
Four Photon Corrections | 0
Nuclear Size Correction to Self Energy | 0
Nuclear Size Correction to Vacuum Polarization | 0
Radiative Recoil | 12
Nuclear Self Energy | 0.6
Total | ~36 kHz
[1]
[2-6]
[2,3]
[7]
[8]
[1] Yerokhin. A and Shabaev V. M , Phys. Rev. A 93, 062514 (2016).
[2] Karshenboim, S. G et al. , Physics Letters B 795, 432–437 (2019)
[3] Karshenboim, S. G et al. , Phys. Rev. A 100, 032515 (2019).
[4] Karshenboim, S. G et al. , Phys. Rev. A 98, 022522 (2018)
[5] V. Yerokhin et al. , Annalen der Physik 531, 1800324 (2019).
[6] A.Czarnecki et al. , Phys. Rev. A 94, 060501 (2016).
[7] S. Laporta, Physics Letters B 800, 135137 (2020).
[8] Karshenboim, S. G and Shelyuto V. A. , Phys. Rev. A 100, 032513 (2019)

## Slide 5: Proton radius puzzle
P. Mohr et al., Rev. Mod. Phys. 88, 035009 (2016)
R. Pohl et al., Nature 466, 213 (2010)
A. Beyer et al., Science 358, 79 (2017)
H. Fleurbaey et al., Phys. Rev. Lett. 120, 183001 (2018)
N. Bezginov et al., Science 365, 1007 (2019)
A. Grinin et al., Science 370, 1061 (2020)
A. D. Brandt et al., Phys. Rev. Lett. 128, 023001 (2022)
Known to 4 x 10-15

## Slide 6: Rydberg constant puzzle
P. Mohr et al., Rev. Mod. Phys. 88, 035009 (2016)
R. Pohl et al., Nature 466, 213 (2010)
A. Beyer et al., Science 358, 79 (2017)
H. Fleurbaey et al., Phys. Rev. Lett. 120, 183001 (2018)
N. Bezginov et al., Science 365, 1007 (2019)
A. Grinin et al., Science 370, 1061 (2020)
A. D. Brandt et al., Phys. Rev. Lett. 128, 023001 (2022)
Known to 4 x 10-15

## Slide 7
He+ spectroscopy for testing QED
Measuring the 1S-2S transition
Determine and contribute to the proton charge radius puzzle
Determine charge radius, which can be compared with m-He measurement
Measuring other transitions in 4He+
QED test more independent from m-He and Hydrogen
Measuring 3He+
Charge radii difference, which can be compared with neutral He spectroscopy
QED theory uncertainty will be a limitation
better than 400kHz (4x10-11)
better than 60 kHz (6x10-12)
better than 36 kHz (4x10-12)
[90 kHz from Pachucki et al. arXiv (2023)]

## Slide 8
4He+ Nuclear charge radius
Scattering
I.Sick (2008)
rα = 1.681(4)
m-He spectroscopy
J. Krauth et al. (2021)
rα = 1.678 24 (13)exp(82)theo
rα uncertainty J. Krauth et al. (2021) | Contribution to He+ 1S-2S uncertainty
QED (r-independent) 0.04 am | 2.9x10-13
2PE 0.70 am | 5.2x10-12 = 52 kHz
3PE 0.42 am | 3.1x10-12
1PE 0.06 am | 4.5x10-13
Theory Total: 0.82 am | 6.1x10-12
Experiment (statistics) : 0.13 am | 9.7x10-13 = 9.6 kHz
4x10-12: He+ QED theory uncertainty
Pachucki et. al (2023)
rα = 1.678 60 (120)theo

## Slide 9
He+ spectroscopy setup: overview
High-power IR
frequency comb
Yb:KYW laser + amplifiers
@1030 nm
300 W Innoslab amplifier
(Fraunhofer ILT)
Trapped He+ ions
Intracavity
high-harmonic generation
17th harmonic
Frequency comb
at 60.8 nm
HHG
IR frequency comb
1030 nm
Odd-order harmonics
XUV frequency comb
61 nm
17th harmonic
High-harmonic generation

## Slide 10: Direct frequency comb spectroscopy
Line width of a single laser mode
Efficient nonlinear frequency conversion due to high peak power of pulsed laser
As efficient as CW laser of same average power
Pioneered by: Ye. V. Baklanov and V. P. Chebotayev, Appl. Phys. 12, 97 (1977)
Hydrogen 1S-3S: A. Grinin et al., Science 370, 1061 (2020)
XUV comb at 61nm
1S
2S
2 x 61 nm
He+
Spectroscopy signal: He2+
< 91 nm

## Slide 11
Yb:YAG amplifier (Innoslab)
270 W, Dl = 1.6 nm, 𝜏 = 1.1 ps
Yb:KYW oscillator (frequency comb)
40 MHz, 10 mW, l = 1030 nm
f
Multi-pass-cell spectral broadening
(two stages)
230 W , 1010 - 1060 nm, 59 fs
Yb:LuAG preamplifier
2.7 W Dl = 2.3 nm
(+ double-pulse generation)
61 nm laser system
HHG
Intracavity high-harmonic generation
5 kW, < 100 fs
XUV comb
to He+ trap
Seed laser
Amplification
&
compression
XUV comb
generation

## Slide 12
Enhancement Resonator for HHG
Xe gas for HHG
to He+ trap
Mirror with slit
Comb frep = 40 MHz
Cavity FSR = 20 MHz
Wedge mirror
Side view

## Slide 13
Segmented input coupler
Slit mirror
~30 µW at 60.8 nm (preliminary)
~ 0.1 Hz signal rate (ionization)
Enhancement Resonator for HHG
H9
115nm
H11
H13
H15
H17
61nm
H19
H21
H23
H25
41nm

## Slide 14: Comb stabilization
Comb mode locked at
Cavity-stabilized cw laser (ECDL)
f
Noise cancelled by two-photon excitation
Yb:KYW oscillator

## Slide 15: Stabilization of frequency comb
double-pulse generation
Yb:KYW
mode-locked
oscillator
Pre-Amplifier
Yb:LuAG
HHG enhancement resonator
nonlinear pulse compression
Yb:YAG Innoslab amplifier
Pre-Amplifier
Yb:LuAG
fast
AOM
slow
AOM
Cavity-stabilized
CW laser (ECDL)
Beat detection
Beat detection
Beat detection
PZT
frequency
comb

## Slide 16: Stabilization of frequency comb
80% of power in carrier at XUV
Less than 20% of signal loss due to phase noise
OFF path length stabilization
ON path length stabilization
Noise at oscillator output
Noise floor

## Slide 17: XUV beam delivery to trapped He+
HHG chamber
Ion trap
XUV focusing mirrors
(R=30% @ 61 nm)
XUV grazing incidence mirror
(R=70% @ 61 nm)
HHG chamber
Ion trap
XUV focusing mirrors
(R=30% @ 61 nm)
XUV grazing incidence mirror
(R=70% @ 61 nm)
Doppler-free
Anti-collinear excitation
Sympathetically cooled He+
in mixed ion crystal (He+/Be+)

## Slide 18: Be+/He+ ion trap
RF electrodes
3 cm

## Slide 19: Ion crystals and sympathetic cooling
≈15 µm
Be+ laser cooled to a few mK
Be+
He+
He+ sympathetically cooled

## Slide 20: Spectroscopy signal: Secular excitation detection
Motional resonance:
Trap
Species
PMT
Signal generator:
scan frequency
Signal: fluorescence from Be+ ions

## Slide 21: Single event sensitive detection
H2+
H3+
Testing secular excitation detection
H2+: Same charge-to-mass ratio as He2+
F. Schmid et al., Phys. Rev. A 106, L041101 (2022)

## Slide 22: Driving two-photon transition in Be+
1s23s
1s22s
1s22p
1s23p
1s23d
313 nm
Laser cooling,
shelving
2 x 203.97 nm = 2 x 1019.8 nm/5
Γ = 2π x 176 MHz
1 mW focused to 5 µm
 ~Hz excitation rate

## Slide 23: 5th harmonic generation in crystals
LBO
DM
BBO
BBO
DM
Delay line
1020 nm
510 nm
255 nm
204 nm

## Slide 24
Achieved:
Generation of 61nm comb
Trapped and cooled He+
Demonstrated sensitive He2+ detection
Testing spectroscopy setup with easier transition
(Two-photon transition at 204 nm with Be+)
Finding He+ 1S-2S signal:
QED prediction: ~ 70 kHz
Expected linewidth of signal: ~ 1 kHz
Plans :
Optimization of 61nm comb
(power, spectrum)

## Slide 25
The He+ team
Jorge Moreno
Fabian Schmid
Akira
Ozawa
Johannes Weitenberg
Theodor W. Hänsch
Thomas Udem
Thank you for your attention!