## Slide 1
Hyperfine Splitting in Muonic Hydrogen
CREMA
AG Pohl
𝜇
The Zemach radius of the proton

## Slide 2
Beyond the proton radius puzzle
Measurement
Result
from
in H
Most precise
from
+
H-D isotopic shift
Most precise
Notes: Limitation on the QED bound state is coming from the finite size.
Finite size proton is not point like
charge and magnetic distribution

## Slide 3
Beyond the proton radius puzzle
Measurement
Result
from
+
Scattering analysis
Better
eFF
Most precise
+
Lamb shift in
Theory of deutron structure
(nucleon-nucleon)
Notes: Limitation on the QED bound state is coming from the finite size.
Finite size proton is not point like
charge and magnetic distribution

## Slide 4
The Zemach radius
P
𝜇
P
+
𝜇
-
From charge to Zemach radius
-
-
-
+
+
+
+
+
+
+

## Slide 5
Hyperfine Splitting of GS in muonic hydrogen
Antognini, Hagelstein, Pascalutsa, Annual reviews 389, 418 (2022)

## Slide 6
Hyperfine Splitting of GS in muonic hydrogen
Goal
Measure the 1s-HFS in 𝜇p with 1 ppm (40 MHz) precision
Antognini, Hagelstein, Pascalutsa, Annual reviews 389, 418 (2022)

## Slide 7
Hyperfine Splitting of GS in muonic hydrogen
Zeemach radius
with 5relative uncertainty
Proton polarizability
with 40 ppm absolute uncertainty
1s-HFS in 𝜇p with 1 ppm + 1s-HFS in H
Two photon exchange

## Slide 8
Proton structure dependent contributions
Lin, Yong-Hui, Hammer, Meißner (2022)
Antognini, Yong-Hui, Hammer, Meißner(2022)
351(114) ppm
364(89) ppm
Zemach
Recoil
Polarizability

## Slide 9
Proton polarizability
uncertainty in 364 (86)
Proton polarizability
Dispersive analysis
Data driven
Chiral Perturbation
theory
ppm

## Slide 10
The principle of the experiment
Laser pulse: µp(F=0) + ɣ → µp(F=1)
De-excitation: µp(F=1) + H2→µp(F=0) + H2 + Ekin
Diffusion: X-rays produce at target walls
Resonance: Number of X-ray vs laser freq.
6.78 µm
gas
@ 22K

## Slide 11
The principle experiment
Laser pulse: µp(F=0) + ɣ → µp(F=1)
De-excitation: µp(F=1) + H2→µp(F=0) + H2 + Ekin
Diffusion: X-rays produced at target walls
Resonance: Number of X-ray vs laser freq.
6.78 µm
Related Proposals: FAMU at RIKEN/RAL, muonic H at J-PARC
gas
@ 22K

## Slide 12
thermalization
J. Nuber, arXiv (Nov. 2022)
µp formation
Laser excitation
Understand the thermal distribution of the target atoms
Understand the collisional process dependence on the kinetic energy

## Slide 17
@
laser challenges
Response time 1 μs
Stochastic trigger
Wavelength = 6.8 μm
Bandwidth < 100 MHz
Tunability = 39 GHz
Pulse energy 5 mJ
Incoming muon detected
Muon lifetime

## Slide 18
cw seed
1030 nm
OPO I
OPAs
1532 nm
3135 nm
DFG
ZGP
1978 nm
TDL amp.
300 mJ
cw seed
1534 nm
OPO II
OPAs
2148 nm
TDL amp.
300 mJ
cw seed
1978 nm
1978 nm
6800 nm
1030 nm
1030 nm
1532 nm
atomic
reference
Pump diodes
3 kW, 940 nm
3135 nm
2148 nm
5 mJ
TDL osc.
50 mJ
1030 nm
TDL osc.
50 mJ
1030 nm
atomic
reference
lambda-meter
1030 nm
1030 nm
Pump diodes
400 W, 940 nm
The laser system

## Slide 19
Master oscillator
Zeyen, Manuel, et al. review of scientific instruments 2023.
Zeyen, Manuel, et al. arxiv, 2023.
Delay: 700 ns
Energy: 50 mJ
Pulse-to-pulse stability: <0.5% (rms)
Single-frequency operation
Laser chirp < 2 MHz
PDH lock scheme with infinite dynamic range

## Slide 20
Multi pass amplifier
K. Schuhmann et al., Appl. Opt. 57, 10323-10333 (2018)
Zeyen, Manuel, et al. Solid State Lasers XXVIII: Technology and Devices. Vol. 10896., 2019.
Insensitive to thermal lensing

## Slide 21
Multi pass Amplifier
Amplifier tested 210 mJ
M2 ≤ 1.03

## Slide 22
Down conversion =

## Slide 23
Variable outcoupling
PDH lock with infinite range
Pulse chirp < 2 MHz
Total conversion efficiency of 45%
OPO @1534 nm

## Slide 24
OPO energy and chirp
Pump energy @ 1030 nm
output energy @ 3135 nm
Pulse chirp < 2 MHz

## Slide 25
OPA @3135 nm
3.2 mJ @ 3135 nm

## Slide 26
3 um energy output
Perfect beam quality
Pulse to pulse energ stability < 2 % over long term
OPA pump input @ 1030 nm
OPA output @ 3135 nm
Energy a.u

## Slide 27
Tunability
Without optimization
Pulse energy variation of max 10% over 40 GHz
Freq of the seed laser @1534 nm
Pulse energy variation

## Slide 28
Speaking of colours

## Slide 29
Enhancement Cavity

## Slide 30
Two different configurations

## Slide 31
Toroidal cavity
Results
Developed two cavity designs
Cavities perform as expected
Developed monitoring method

## Slide 32
Lamb shift in muonic Hydrogen
Search for the resonance
0.16 meV (40 GHz) search range
Measure 1.4 h at fixed wavelength to expose a 4 effect over background
1 h to change the laser frequency in steps of 100 MHz
Simulation of the search for resonance
Steps to search for resonance
8 Weeks of beam time

## Slide 33
Lamb shift in muonic Hydrogen
Search for the resonance

## Slide 34
The CREMA collaboration

## Slide 35
Thanks
Questions ?

## Slide 36
Wavelength Solution

## Slide 37
Outlook
Reach 6.8μm by early 2022
Complete Laser system by late 2022
Measurement in 2023

## Slide 38
Challenge 1
Diffusion without excitation
Background
𝜇
e
x-rays
Radiation area background

## Slide 39
Detection
BGO
X- rays
1: veto to shield electrons
2: veto to
shield
electrons
3,4 :
For decay
electrons

## Slide 40
Beam Area

## Slide 41
Detection tests
BGOS
Front
Plastic
Scintillators

## Slide 42
Also Exercises !!

## Slide 43
Outlook
Optical Cavity
H2 at 50 k, 1 bar
Fluence > 2 J cm-2
Diameter of illuminated
volume < 1 mm

## Slide 44
Progress
Muons come from PSI Proton accelerator
Target
current
status

## Slide 45
The proton charge radius puzzle
R. Pohl et al., Nature 466, 213 (2010).
P. J. Mohr, B. N. Taylor, D. B. Newell, Rev. Mod. Phys. 84, 1527 (2012). A. Antognini et al., Science 339, 417 (2013).
10 Times more accurate but
5.6 𝝈 from the 2014 CODATA value
fm
fm
A.Bayer, et al., Science 358, 79–85 (2017)
Fleurbaey H et al., Phys. Rev. Lett. 120 183001
Notes: 1S state electron probability to be inside the proton
Attractive force reduced due to less field inside the charge distribution >> proton size

## Slide 46
Muonic Hydrogen Theory
Uncertainty of 4%
Uncertainty of 32%

## Slide 47
Spectroscopy of muonic Hydrogen
Lamb
shift
Measured energy
206.2949(32) meV
Giving
= 0.84087(39) fm

## Slide 48
Hyperfine Splitting of 1S in normal Hydrogen
21 cm line in Regular Hydrogen measured in 71
νexp = 1 420 405. 7 51 766 7 ± 0.000 001 kHz
νtheo = 1 420 403. 1 ± 0.6(finite size) ± 0.4(pol) kHz

## Slide 49
Proton Zemach radius
A. Antognini et al., Science 339, 417 (2013).
From 2S1/2 - 2P1/2 Lamb shift
rz = 1.082(37)
Ur = 3.5 %
Limited by life time of 2p
𝝘 = 18.6 GHz

## Slide 50
Reflectivity plots
Operation at 50 K
Large illuminated volume
Large laser fluence required (100 J/cm2)
~500 reflections through a 1 mm gap

## Slide 51
P
e
Bohr model
Definite orbits
P
Quantization of angular momentum
e
Quantum jumps

## Slide 52
Hydrogen Atom
QED
HFS
F = 1
F = 0
2S1/2 - 2P1/2 Lamb shift
1 S hyperfine splitting
next ?

## Slide 53
Proton structure

## Slide 54
Proton structure
e
e
P
P
u
u
d
u
u
d
I feel less attracted
I feel attracted

## Slide 55
Proton charge radius
Experimental methods
Form factor
Lamb shift
Image by Phys ETH
charge radius

## Slide 56
Why muonic atoms
Bohr radius
P
e
P
𝜇
Notes: 1S state electron probability to be inside the proton
Attractive force reduced due to less field inside the charge distribution >> proton size

## Slide 57
Lamb shift in muonic hydrogen
Energy shift of :
2 % of Lamb shift
Where
Few million times more sensitivity in muonic H
R. Pohl et al., Nature 466, 213 (2010).

## Slide 58
Spectroscopy of muonic hydrogen
Lamb
shift
= 0.84087(39) fm
Measuring
A. Antognini et al., Science 339, 417 (2013).

## Slide 59
Proton charge radius puzzle
= 0.84 fm
= 0.88 fm
Alexey Grinin et al, Science 2020
N. BEZGINOV et al, Science 2019

## Slide 60
Hyperfine Splitting of GS in muonic hydrogen
Goal
Measure the 1s-HFS in 𝜇p with 1 ppm accuracy

## Slide 61
Proton Zemach radius
A. Antognini et al., Science 339, 417 (2013).
Zemach, A. C., Physical Review 104,1771 (1956).

## Slide 62
Proton Zemach radius
A. Antognini et al., Science 339, 417 (2013).
From 2S hyperfine splitting
rz = 1.082(37)fm
Ur = 3.5 %
Limited by life time of 2P
𝝘 = 18.6 GHz

## Slide 63
Hyperfine Splitting of GS in muonic hydrogen
Goal
Measure the 1s-HFS in 𝜇p with 1 ppm accuracy

## Slide 64
Hyperfine Splitting of 1S in muonic Hydrogen
Essen et al., Nature 229, 110 (1971)
Eides et al., Springer Tracts 222, 217 (2007)
6.8 µm line
21 cm line in regular hydrogen measured in 1971
Few million times more sensitivity in muonic H

## Slide 65
The principle of 𝛍p hyperfine splitting
Laser pulse: µp(F=0) + ɣ → µp(F=1)
De-excitation: µp(F=1) + H2→µp(F=0) + H2 + Ekin
Diffusion: X-rays produce at target walls
Resonance: Number of X-ray vs laser freq.
6.78 µm

## Slide 66
OPO characteristics
Frequency stability

## Slide 67
Toroidal cavity

## Slide 68
Down conversion
cw diode
1.53 μm
cw diode
1.97 μm
1030 nm
1030 nm
OPA
stages
3.15 μm, tunable
2.1 μm
OPO
stage
Thin-disk laser
500 mJ, 500 ns delay
single frequency
OPO
stage
OPA
stages
DFG
6.8 μm tunable