## Slide 1
Overview – polarimeters MESA
Status and work(s) in progress
June 15 2023
Presented by Kurt Aulenbacher,
- work by R. Thapa, V. Tioukine & MESA-team

## Slide 2: MESA-Polarimeter - overview
Real vs. “perfect”
The 5 MeV Mott polarimeter
The “Iron”-Möller
From Iron Möller to Hydro Möller

## Slide 3
Double sided recirculation design with normal-conducting injector and superconducting main linac
Two different modes of operation:
(1300 MHz CW beam) - EB-operation (P2/BDX experiment): polarized beam, up to 150 µA @ 155 MeV - ERL-operation (MAGIX experiment): (un)polarized beam, up to 1 (10) mA @ 105 MeV
Picture&lattice layout : D. Simon
Gun
MELBA
MAMBO
MEEC-1
MEEC-2
Recirculation arcs 1-3-5
Recirculation arcs 2-4
Ext. beamline
ERL loop
155 MeV dump
5 MeV dump
P2
MAGIX
MESA Accelerator Layout

## Slide 4
P2@MESA: High accuracy measurement of (very small) parity violating asymmetry
Figures from: D. Becker et al., Eur. Phys. J. A (2018) 54 : 208
But: Aexp=P*APV
0.1%

## Slide 5
Polarimeter type | Potential accuracy at MESA | Current capability | Online capability | Published (DP/P) | Remark
Perfect | 0.1 % | >150 A | YES |  | Does not exist yet
Polarimeter type | Potential accuracy at MESA | Current capability | Online capability | Published (DP/P) | Remark
Perfect | 0.1 % |  | YES |  | Does not exist yet
The Perfect Polarimeter at MESA

## Slide 6: Polarimeter Chain
See also: Talk by Rakshya this afternoon

## Slide 7
Polarimeter type | Potential accuracy at MESA | Current capability | Online capability | Published (DP/P) | Remark
Perfect | 0.1 % | >150 A | YES |  | 
5 MeV Mott | <0.6 %? | 150 ? | limited | 0.61 % (JLAB 2021) At 5 MeV | At 4A Online to be demonstrated!
Iron Möller | <1 ? | 1A | NO | 0.85% (JLAB 2022) At 1 GeV | Inline with experiment!
Hydro Möller | <0.3? | >150 A | YES | - | Target design exists , realization difficult
DSMP | <0.3 | <1A | NO | 0.3 %at 120keV | Manpower issue and unresolved problems
Laser-Compton | ?? | > 150 A | YES | 0.5% (SLAC, 45 GeV) | Insufficient analyzing power at 155 MeV
Polarimeter type | Potential accuracy at MESA | Current capability | Online capability | Published (DP/P) | Remark
Perfect | 0.1 % |  | YES |  | 
5 MeV Mott | <0.6 %? | 150 ? | limited | 0.61 % (JLAB 2021) At 5 MeV | 
Iron Möller | <1 ? |  | NO | 0.85% (JLAB 2022) At 1 GeV | Inline with experiment!
Hydro Möller | <0.3? |  | YES | - | Target design exists , realization difficult
DSMP | <0.3 |  | NO | 0.3 %at 120keV | Manpower issue and unresolved problems
Laser-Compton | ?? |  | YES | 0.5% (SLAC, 45 GeV) | Insufficient analyzing power at 155 MeV
Perfect vs. realistic options

## Slide 8
Polarimeter type | Potential accuracy at MESA | Current capability | Online capability at MESA | Published (DP/P) | Remark
Perfect | 0.1 % | >150 A | YES |  | 
5 MeV Mott | <0.6 %? | 150 ? | limited | 0.61 % (JLAB 2021)(*) At 5 MeV | Online to be demonstrated!
Iron Möller | <1 ? | 1A | NO | 0.85% (JLAB 2022)(**) At 1 GeV | Inline with experiment! Much lower energy as in (**)
Polarimeter type | Potential accuracy at MESA | Current capability | Online capability at MESA | Published (DP/P) | Remark
Perfect | 0.1 % |  | YES |  | 
5 MeV Mott | <0.6 %? | 150 ? | limited | 0.61 % (JLAB 2021)(*) At 5 MeV | Online to be demonstrated!
Iron Möller | <1 ? |  | NO | 0.85% (JLAB 2022)(**) At 1 GeV | Inline with experiment! Much lower energy as in (**)
(*) J. Grames et al. PHYSICAL REVIEW C 102, 015501 (2020) DOI: 10.1103/PhysRevC.102.015501
(**) E. King PSTP2022 --- 19th Workshop on Polarized Sources, Targets and Polarimeters, Proceedings of Science Vol 433 /30
Perfect vs. Options with high priority

## Slide 9: The 5 MeV Mott at JLAB
Source should be operated at full current to exclude change of polarization
Improved detection system needed ! (31 MHz operation at JLAB (2% d.f.) restricted beam current to ~4 mA )
Spin rotation between Mott and experiment!
Caveats:
Taken from: J. Grames et al.
PHYSICAL REVIEW C 102, 015501 (2020)
DOI: 10.1103/PhysRevC.102.015501

## Slide 10
Fast kicker Magnet
(see Valerys Talk)
Mott polarimeter
(see Rakshyas talk)
5 MeV Beam
from MAMBO
The 5 MeV Mott-Adaptation for MESA
Air coil extraction magnet („Kicker“) for reprodicible switching
„quasi“ online operation posible, if fast kicker system applied (to be demonstrated!)
Compton Absorption
Polarimeter

## Slide 11: Full current operation ?
V. Tioukine et al., REV. SC. INSTR. 82, 033303 (2011)
doi:10.1063/1.3556593
Change of polarization because of cathode heating at high powers/increased cathode temperatures is possible.
DAQ/SNR system should be able to handle full current (Not the case at JLAB – large dead time corrections)
Also thermal issues (750 Watt on target/dump)
Kicker is important

## Slide 12: Constant bunch charge operation
Systematics to be explored by attenuation at CW and by varying duty cycle Laser system as explored in 2022 at MAMI is well suited (see internal note by R. Thapa)
Especially important for „Iron“ Möller  Operation with ~1% duty factor (Alternative 1:99 Möller/Mott kicker?)
Average beam current
1.7 mA at 204 MHz
(12 th subharmoic of MAMI)
Bunch length 62ps
Average beam current
13 mA at 204 MHz
(156 mA at CW)
Bunch length 78 ps

## Slide 13: Spin rotation towards 155 MeV and Monitoring at 5 MeV
Depending on the energy chosen for an experiment at P2, the spin vector may not be perpendicular at the Mott and longitudinal at P2 simultaneously
Longitudinal at P2 requires 8 degree at Mott for 155 MeV
In this unfavorable situation polarisation monitoring should be done with an (available) Compton transmission polarimeter to avoid changing spin orientation!
Monitoring is always necessary because of drifts of polarisation
Simulatenous observation of longitudinal and
transverse spin components.
Data taken at MAMI at 30mA
From: R. Barday, et al. Proceedings of PESP2010

## Slide 14: Iron Möller at JLAB
Note: current dependence (cathode heating) is taken into account!
Note: The foil polarization error has two components (knowledge of saturation polarization & and unknown degree of saturation )
D.E. King et al. Møller polarimetry for PREX-2 and CREX. NIM-A, 1045:167506, 2023.

## Slide 15: Adaptation of Iron Möller for MESA
Similar to old Möller Polarimeter used at 180 MeV in MAMI-A…
…with the exception of B=8T Solenoid!
Caveat: Beam energy almost one order of magnitude lower than at JLAB!
 Pro or Con ?
Suggestion for very simple „inline“ set up
Wagner et al. NIM A 294 541 (1990)

## Slide 16: Adaptation of Iron Möller for MESA
Application of 8 T Solenoid offers advantages
Less uncertainty in saturation polarization
Transfer matrix for incident beam (leave Solenoid on during P2 data taking, only remove target, requires field integral 3.25 Tm at 155 MeV)
Spectroscopic effect of solenoid for Möller electrons of different energies (will be amplified by quadrupole magnet)
3.5 Tm Solenoid affordable (Cryocooled & warm bore) and suited for later Hydro-Möller installation
Very long „Do list“ :
Target moving system design
Detector system
Determination of acceptance
Systematic effects (Levchuk, dead time, current dependance,…)

## Slide 17: From Iron Möller to Hydro-Möller ?

## Slide 18: Hydro-Möller: Promise
Suggested by E. Chudakov and V. Luppov:
Moller polarimetry with atomic hydrogen targets IEEE Transactions on Nuclear Science 51 (2004) 1533.
Areal density about 1016 spins/cm2 sufficiently low for online operation
but reasonable statistical efficiency…(for specific high acceptance detection system see talk by Michail)
Hydrogen Polarization 1-e with e<10-4 suppression of error from target polarization
No Levchuk effect
Full current & online cabability
 DP/P < 0.5%?
Schematic of Hydro-Möller-Target,
Figure from: D. Becker et al., Eur. Phys. J. A (2018) 54 : 208

## Slide 19
Replacing Iron with Hydrogen?
Möller scattering from completely spin polarized hydrogen target: see V. Tioukine et al. Proceedings PSTP 2019
Iron Möller approach

## Slide 20: Hydro-Møller infrastructure
Length of set up ~8m
Two Helium circuits
needed
Estimated
lq. Helium consumption
<10l/h
Feasible, but technologically demanding!
To P2

## Slide 21: Hydro-Möller: Technical Challenges and status
Powerful dilation refrigerator needed
(50mW at 0.3K)
Detailed design of refrigerator exists
Several parts already were fabricated at
JINR/Dubna (but not delivered)
Fabrication of remaining parts will be
delayed for unforeseeable time
because of the war in Ukraine.
Iron Möller only possible solution at the moment
Solenoid of Iron-Möller may be used for the
Hydro-Möller trap too.

## Slide 22: From Iron Möller to Hydro-Möller ?
Moving towards Hydro-Möller is a project that should and can be pursued. It has reasonable chances, but we need partners to be succesful within a meaningful period of time

## Slide 23: Summary/Outlook
5 MeV Mott is under design and partially under construction ( talks by Valery, Rakshya)
Iron Möller under design, can be realized timely.
Beam for polarimeters becomes available 2024
MANY systematics to be checked!
5 MeV Mott and Iron Möller: May yield sufficient accuracy for P2-Lead, P2-H
P2-12C needs further improvements …
….like Hydro-Möller, improved 5 MeV Mott, DSMP (or all of them)

## Slide 24: Thank you

## Slide 25: The DSMP at MESA – technical issue
High bunch charge/photosource MIST
Polarized
Photosource STEAM
DSMP
Injection/extraction beamline
(under construction, PhD thesis A. Kalamaiko)
DSMP: Non-compatible vacuum technology  man power needed (installation postponed)

## Slide 26: The DSMP at MESA – measurment issue
The DSMP is gift from Univresity of Münster
where double scattering was used to MEASURE
the effective analyzing power of Mott scattering.
In double scattering, assuming two identical scattering
processes and starting from unpolarized
beam we observe an experimental asymmetry that
is given by
The Münster group quoted an uncertainty for of 0.3%.
Gellrich, A. ; Kessler, J.: Precision measurement of the Sherman asymmetry
function for electron scattering from gold. In: Physical Review A 43 (1991), Nr.
1, S. 204
The requirement of having identical scattering conditions
can be elliminated if a polarized beam is available and additional
measurements are done. Mayer, S. ; Fischer, T. ; Blaschke, W. ; Kessler, J.: Calibration of a Mott
electron polarimeter: Comparison of dierent methods. In: Review of scientic
instruments 64 (1993), Nr. 4, S. 952{957
Ellimination of instrumental asymmetries is the main difficulty!
Monitor counters
Polarisation
counters

## Slide 27: The DSMP at MESA – measurment issue
A measurement of scattering Rate vs. Angle of first scattering
yields the logarithmic derivative of the rate
As shown in Gellrich, A. ; Kessler, J.: Precision measurement of the Sherman asymmetry
function for electron scattering from gold. In: Physical Review A 43 (1991), Nr.
1, S. 204 an unabiguous correction of instrumental
asymmetries requires a fixed distance ratio
of the monitor counters with the polarization counters:
Only under this condition the instrumental asymmetry of the monitor
counters is always proportional to that of the polarisation counters.
Assuming the monitor counters to have purely instrumental asymmetries
We have:
(*)
Measurments by M. Molitor, PhD thesis
Mainz 2020

## Slide 28: The DSMP at MESA – physics issue
The proportionality constant is then:
(*)
We have not observed the behavior (*):
Artificially induced instrumental asymmetries (by misaligning the
beam on the target- red line) do not follow the predicted behavior.
(green line). The additional uncertainty associated with an inaccurate
correction of instrumental asymmetries was estimated
to be of the order 1%
Measurement by M. Molitor, PhD thesis
Mainz 2020

## Slide 29: The DSMP at MESA – physics issue
Independend cross checks with polarised beam are only consistent to about plus/minus 1.5%
Supporting the suspicion that the correction for instrumental asymmetries is wrong
Additional problem was that beam for was not completely unpolarized
Additional issue is that switching of Wien filter for the cross check measurements may have changed the magnetic field in the DSMP with also adverse effects…
Measurement by M. Molitor, PhD thesis
Mainz 2020

## Slide 30: Thank You

## Slide 31
P2@MESA:
Assumptions concerning error contributions
Average scattering angle at Ebeam=155 MeV
Statistics: Assuming 150 mA beam current on 55cm lq. Hydrogen for 10000 hours with P=0.85
Relative
error on
sin2 of
weak mixing
angle
Content from: D. Becker et al., Eur. Phys. J. A (2018) 54 : 208
Polarization error
assumed as DP/P=0.5%!

## Slide 32: The beamline…
D. Simon Dissertation Thesis
http://doi.org/10.25358/openscience-5809

## Slide 33: The cryogenic distribution

## Slide 34: “Robust” Refrigerator parts…(fabricated in Germany)
Beam insert and
“Pumping line”
All welded
heat exchangers
For precooling stage
If situation with russian institutions do not improve…
..one may try to fabricate in house/

## Slide 35: “Precooler ” parts (fabricated in Russia but not delivered)
..one may try to fabricate the missing pieces (many!)
in house/with industry in other cooperations  probbaly impossible to acquire necessary know how , in any many years of delay!