## Slide 1
Recent Results from the PRad Experiment
A. Gasparian
NC A&T State University, NC USA
for the PRad collaboration
Outline
  the Proton Radius Puzzle, recent history
  our approach for a new ep-experiment
  the PRad experiment
  PRad results
  plans for new experiments
  summary and outlook
New York Times

## Slide 2: Methods to Measure the Proton Charge Radius
Two different techniques:
Hydrogen spectroscopy (lepton-proton bound states,
Atomic Physics):
  regular hydrogen
  muonic hydrogen
e
p
p
e
GE
Lepton-proton elastic scattering (Nuclear Physics):
  ep- scattering (like PRad)
  μp- scattering (like MUSE)
  With relativisticly correct definition of the Proton charge radius:

## Slide 3: The First Measurement of the Proton Charge Radius (ep-scattering)
The Proton rms charge radius in 1956 was measured to be:
  7.8 10-14 cm (0.78 fm)
  Hofstadter, McAllister, Phys. Rev. 102, 851 (1956).
Hofstadter, McAllister, Phys. Rev. 98, 217 (1955).
Hofstadter, McAllister, Phys. Rev. 102, 851 (1956).
started with Robert Hofstadter
  Nobel prize in Physics (1961):
  “… for his pioneering studies of electron
  scattering in atomic nuclei and for his
  consequent discoveries concerning the
  structure of nucleons …”
Over 60 years of experimentation!
  started from 0.78 fm
  ended to 0.895 fm by 2010.
  where we are now ???

## Slide 4: The Puzzle: Proton Radius before 2010
CODATA average: 0.8751 ± 0.0061 fm
ep-scattering average (CODATA): 0.879 ± 0.011 fm
Regular H-spectroscopy average (CODATA): 0.859 ± 0.0077 fm
  Very good agreement between ep-scattering and H-spectroscopy results !

## Slide 5: The Puzzle: Proton Radius in 2013
New York Times
Regular hydrogen average (CODATA): 0.8751 ± 0.0061 fm
Muonic hydrogen (CREMA coll. 2013): 0.8409 ± 0.0004 fm
  Muonic hydrogen (CREMA coll. 2010): 0.84184 ± 0.00067 fm

## Slide 6: The Puzzle: Proton Radius in 2017
Regular hydrogen average (CODATA): 0.8751 ± 0.0061 fm
Muonic hydrogen (CREMA coll. 2013): 0.8409 ± 0.0004 fm
  Regular H-spectr. (2S  4P, Garching, PSI): 0.8335 ± 0.0095 fm

## Slide 7: The Puzzle: Proton Radius in 2018
Regular hydrogen average (CODATA): 0.8751 ± 0.0061 fm
Muonic hydrogen (CREMA coll. 2013): 0.8409 ± 0.0004 fm
  Regular H-spectr. (2S  4P, Garching, PSI): 0.8335 ± 0.0095 fm
  Regular H-spectr. (1S  3S, LKB, Paris): 0.877 ± 0.013 fm

## Slide 8: The Puzzle: Proton Radius in 2019
Regular hydrogen average (CODATA): 0.8751 ± 0.0061 fm
Muonic hydrogen (CREMA coll. 2013, PSI): 0.8409 ± 0.0004 fm
  Regular H-spectr. (2S  4P, Garching, PSI): 0.8335 ± 0.0095 fm
  Regular H-spectr. (1S  3S, LKB, Paris): 0.877 ± 0.013 fm
  Regular H-spectr. (2S1/2  2P1/2 , York Un. Canada) 0.833 ± 0.010 fm

## Slide 9: Planning a new ep→ep Experiment: weaknesses of previous magnetic spectrometer experiments
Practically all ep-scattering experiments are performed with magnetic spectrometers and LH2 targets!
  high resolutions but, very SMALL angular and momentum acceptances:
    need many different settings of angle (Θe) , energies (E) to cover a reasonable Q2 fitting interval
    normalization of each Q2 bins
    thair systematic uncertainties
  limitation on minimum Q2: 10-3 GeV/C2
    min. scattering angle: θe ≈ 50
    typical beam energies (Ee
  limits on accuracy of cross sections (dσ/dΩ): ~ 2 ÷ 3%
    statistics is not a problem (<0.2%)
    control of systematic uncertainties???
    beam flux, target thickness, windows,
    acceptances, detection efficiencies,
    ...

## Slide 10: A Possible Solution: PRad Experimental Approach
Use large acceptance, high resolution electromagnetic calorimeter (together with a GEM coordinate detector):
  measure a large interval of angles in one experimental setting (e = 0.60 – 7.00 )
  (Q2 = 2x10-4 ÷ 6x10-2 ) GeV/c2 ;
  access to smaller angles (e ≈ 0.60 )
  calibrate with a well-known QED processes: azimuthal symmetry of the calorimeter, simultaneous detection of ee → ee Moller scattering (best known control of systematics).
Use windowless H2 gas flow target:
  minimize experimental background.
Use two beam energies only: E0 = 1.1 GeV and 2.2 GeV to check the consistency of experimental data.

## Slide 11: PRad Experiment Timeline
Initial proposal development: 2011-12
Approved by JLab PAC39: 2012
Funding proposal for windowless H2 gas flow 2012
target (NSF MRI #PHY-1229153)
Development, construction of the target: 2012 – 15
Funding proposals for the GEM detectors: 2013
(DOE awards)
Development, construction of the GEM detectors: 2013-15
Beam line installation, commissioning,
data taking in Hall B at JLab: January /June 2016
Date analysis 2016 – 2019
Publication in Nature journal November, 2019

## Slide 12: PRad Experiment Performed in Hall B at Jefferson Lab
PRad was performed in Hall B at JLab

## Slide 13: PRad Experimental Setup in Hall B at JLab (schematics)
Main detector elements:
  windowless H2 gas flow target
  PrimEx HyCal calorimeter
  vacuum box with one thin window at HyCal end
  X,Y – GEM detectors on front of HyCal
Beam line equipment:
  standard beam line elements (0.1 – 50 nA)
  photon tagger for HyCal calibration
  collimator box (6.4 mm collimator for photon beam, 12.7 mm for e- beam halo “cleanup”)
  Harp 2H00 l
e - beam

## Slide 14: Windowless Gas Flow Target
New Cylindrical Vacuum Chamber
Electron beam
Electron Beam
e-beam
8 cm diam. X 4 cm long target cell
2 mm holes open at front and back of kapton foils for the beam passage
Areal density: 1.8x10+18 H atoms/cm2
  cell pressure: 471 mTorr
  chamber pressure: 2.34 mTorr: cell vs. chamber pressures: 200:1
  Vacuum tank pressure 0.3 mTorr: cell vs. vacuum tank pressures: 1000:1
  Gas temperature: 19.5 K

## Slide 15: PRad Experimental Apparatus: Vacuum Chamber
New Cylindrical Vacuum Chamber
Electron beam
5 m long two stages vacuum chamber,
1.7 m diameter, 2 mm Al vacuum window
vacuum chamber pressure: 0.3 mTorr

## Slide 16: PRad Experimental Apparatus: Vacuum Chamber and Window
1.7 m diameter, 2 mm Al vacuum window
2-stage vacuum box in Hall B beam line

## Slide 17: PRad Experimental Apparatus: GEM Coordinate Detectors
New Cylindrical Vacuum Chamber
Electron beam
Two large area GEM detectors
Small overlap region in the middle
Excellent position resolution (72 µm)
Improve position resolution of the setup by > 20 times
Large improvements in Q2 determination

## Slide 18: PRad Experimental Apparatus: HyCal El. Mag. Calorimeter
New Cylindrical Vacuum Chamber
Electron beam
hybrid EM calorimeter (HyCal)
  inner 1156 PbWO4 modules.
  outer 576 lead glass modules.
5.8 m from the target.
scattering angle coverage: ~ 0.6˚ to 7.5˚
full azimuthal angle coverage
high resolution and efficiency
  2.5% at 1 GeV for crystal part
  6.1% at 1 GeV for lead glass part
energy calibration done with tagged photons
e-beam

## Slide 19: Experimental Data Set: Event Selection
2.2 GeV
Experiment performed in May/June, 2016
with two beam energy settings:
  1.1 GeV (604 M events)
  2.2 GeV (756 M events)
For all events, require hit matching between GEMs and HyCal
For ep and ee events, apply angle dependent energy cut based on kinematics:
  cut size depend on local detector resolution
For ee, if requiring double-arm events, apply additional cuts:
  elasticity
  co-planarity
  vertex z (kinematics)

## Slide 20: Data Analysis – Background Subtraction
Runs with different target condition taken for background subtraction and studies for the systematic uncertainties.
Developed simulation program for target density distribution (COMSOL finite element analysis).
Pressure:
~470 mTorr
~3 mTorr
< 0.1 mTorr

## Slide 21: Data Analysis – Background Subtraction
ep background rate ~ 10% at forward angles (<1.30, dominated by upstream “collimator”),
less than 2% otherwise.
ee background rate ~ 0.8% at all angles .
2.2 GeV data
2.2 GeV data

## Slide 22: Data Analysis – Inelastic ep Contribution
Using Christy 2018 empirical fit to study inelastic ep contribution
Good agreement between data and simulation
Negligible for the PbWO4 region (<3.5o)
Less than 0.2%(2.0%) for 1.1GeV(2.2GeV) in the Lead glass region
M. E. Christy and P. E. Bosted, PRC 81, 055213 (2010)
PbWO4 region
Lead glass region

## Slide 23: Data Analysis: Stability vs. Run Number
Normalized ep/ee ratio vs. run number, (background subtracted with neighboring empty target runs).
Sensitive to systematics like time variation of beam line background, …

## Slide 24: Data Analysis: Azimuthal Uniformity
Ratio (ep/ee)dat / (ep/ee)sim vs. azimuthal quadrants
Sensitive to detector efficiency, beam position, tilting angles, …
2nd
1st
3rd
4th
2.2 GeV data

## Slide 25: Extraction of the ep → ep Elastic Scattering Cross Section
To reduce the systematic uncertainty, the ep cross section is normalized to the Møller cross section:
Radiative effects corrected by Monte Carlo method:
  GEANT4 based simulation package with full geometry setup
  event generators with complete calculations of radiative corrections1),2)
  iterative procedure applied for radiative corrections
    1) A. V. Gramolin et al., J. Phys. G Nucl. Part. Phys. 41(2014)115001;
    2) I. Akushevich et al., Eur. Phys. J. A 51(2015)1 (fully beyond ultra relativistic approximation).

## Slide 26: Elastic ep→ep Differential Cross Sections (Current)
Extracted differential cross sections vs. Q2, with 1.1 and 2 GeV data (current).
Statistical uncertainty: ~0.2% for 1.1 GeV and ~0.15% for 2.2 GeV per point.
Systematic uncertainties: 0.3% - 0.5% for 1.1 GeV and 0.3 – 1.1% for 2.2 GeV per point.
33 data points from 1.1 GeV data set
38 data points from 2.2 GeV data set

## Slide 27: Extracted Proton Electric Form Factor, GE vs. Q2
33 data points from 1.1 GeV data set
38 data points from 2.2 GeV data set
n1 = 1.0002 +/- 0.0002(stat.) +/- 0.0020 (syst.), n2 = 0.9983 +/- 0.0002(stat.) +/- 0.0013 (syst.)

## Slide 28: Recent Developments in Fitting Procedures
The input form factors (with known rp) are used to generate pseudo data using PRad kinematic range and uncertainties.
All combinations of input functions and fit functions can then be tested repeatedly against regenerated pseudo data.
Since the input radius is known, this allowed to find fitting functions that are robust for proton radius extractions in an objective fashion.
The following fitters:
  two-parameter rational function
  two-parameter continued fraction
  second-order polynomial expansion of z
are identified as robust fitters with small uncertainties
RMSE = sqrt(bias2 + σ2)
X. Yan, et al.
“Robust extraction of the proton charge radius from electron-proton scattering data”, PRC 98, 2, 025204, 2018

## Slide 29: Fit to Extract the Proton Radius
PRad finalresult: Rp = 0.831 ± 0.007 (stat.) ± 0.012 (syst.) fm

## Slide 30: The PRad Final Result on the Radius with the Mainz ISR
PRad final result: Rp = 0.831 ± 0.007 (stat.) ± 0.012 (syst.) fm

## Slide 31: PRad Collaboration
Currently 14 collaborating universities and institutions:
Jefferson Laboratory, NC A&T State University,
Duke University, Idaho State University,
Mississippi State University, Norfolk State University,
University of Virginia, Argonne National Laboratory,
University of North Carolina at Wilmington, Hampton University,
College of William & Mary, Tsinghua University, China,
Old Dominion University, ITEP Moscow, Russia.
Graduate students:
Chao Peng (Duke), Weizhi Xiong (Duke),
Xinzhan Bai (UVa), Li Ye (MSU)
Postdocs:
Chao Gu (Duke), Xuefei Yan (Duke),
Mehdi Meziane (Duke), Zhihong Ye (Duke),
Maxime Lavilain (NC A&T), Krishna Adhikari (MSU),
Latif-ul Kabir (MSU), Chandra Akondi (NC A&T)
A part of the PRad collaboration
in December, 2019 at JLab

## Slide 32: New Experiments in Progress
MUSE at PSI: measure
(
  test of lepton universality;
  extraction of proton radius;
  first results expected very soon.
ProRad at IPNO, France (Q2 ,10-6 – 10-4 GeV2):
  30 70 MeV electron beam;
  extract the proton radius;
  in a preparation stage.
ULQ2 at Tohoku Univ. Japan (Q2 ,10-4 – 10-3 GeV2):
  20 60 MeV electron beam;
  extract the proton radius
  in commissioning stage.

## Slide 33: Planning Experiments
High pressure hydrogen gas TPC detector at Mainz,
  ep→ep scattering at moderate energies;
  detection of recoil proton;
  promising to reach Q2 10-5 GeV2 range;
  extraction of the proton radius;
  first collaboration meeting on March 11.
The same high pressure hydrogen TPC detector at COMPASS (Q2 range: 10-4 – 1 GeV2):
  p→p scattering at high energies;
  detection of the recoil proton;
  extract the proton radius;
  in a planning stage.

## Slide 34: Possible Extension of the PRad Experiment: PRad-II at JLab
We are preparing a proposal to JLab PAC-48 (this summer) to get maximum precision with the PRad method:
  add second GEM detector for tracking;
  modify the hydrogen gas target: looking for a liquid hydrogen droplet target;
  4 times more statistics;
  upgrade HyCal to all PbWO4 crystals;
  upgrade DAQ based on FADC electronics;
e - beam

## Slide 35: Possible Extension of the PRad Experiment: PRad-II at JLab
PRad result: Rp = 0.831 ± 0.007 (stat.) ± 0.012 (syst.) fm (±1.67%)
PRad-II projected:
expect 2.5 times improvement in total uncertainty:
Rp = 0.8?? ± 0.003 (stat.) ± 0.005 (syst.) fm (±0.67%)

## Slide 36: Summary
The “Proton Radius Puzzle” is becoming more “puzzling” recently ” !?:
  two recent experiments performed in the spectroscopy sector: not much agreement !!!
  discrepancy between ep-scattering and muonic hydrogen experiments unchanged (before PRad).
PRad was uniquely designed and performed in 2016 to address the “Puzzle”:
  data in a large Q2 range have been recorded with the same experimental settings,
  [2x10-4 ÷ 6x10-2] GeV/C2.
  lowest Q2 data set (~10-4 GeV/C2) has been collected for the first time in ep-scattering experiments;
  simultaneous measurement of the Moller and Mott scattering processes has been demonstrated to control systematic uncertainties.
The PRad final result supports small proton charge radius:
    Rp = 0.831 ± 0.007 (stat.) ± 0.012 (syst.) fm (±1.67% total)
Is the “Proton Radius Puzzle” solved???
    … wait for few more experiments!
PRad was supported in part by NSF MRI #PHY-1229153 and DOE DE-FG02-03ER41231 awards.
my research work is supported in part by NSF award: PHY-1812421

## Slide 37: Thank you!

## Slide 38: The PRad Final Result on the Radius
PRad final result: Rp = 0.831 ± 0.007 (stat.) ± 0.012 (syst.) fm

## Slide 39: Recent Developments in Fitting Procedures

## Slide 40: Systematic Uncertainties
Item | Rp uncertainty (fm) | n1 uncertainty (1.1GeV) | n2 uncertainty (2.2GeV)
Event selection | 0.0070 | 0.0002 | 0.0006
Radiative correction | 0.0069 | 0.0010 | 0.0011
Detector efficiency | 0.0042 | 0.0000 | 0.0001
Beam background | 0.0039 | 0.0017 | 0.0003
HyCal response | 0.0029 | 0.0000 | 0.0000
Acceptance | 0.0026 | 0.0001 | 0.0001
Beam energy | 0.0022 | 0.0001 | 0.0002
Inelastic ep | 0.0009 | 0.0000 | 0.0000
Total | 0.0116 | 0.0020 | 0.0013

## Slide 41: Proton Radius Extracted From e-p Scattering Experiments
More different analysis results than actual experiments
Started with: rp ≈ 0.81 fm in 1963
Reached to: rp ≈ 0.88 fm by 2011

## Slide 42: Proton Radius from Regular Hydrogen Spectroscopy