## Slide 1
PROJECT FOR PRECISION MEASUREMENT OF THE PROTON CHARGE RADIUS IN AN ELECTRON-PROTON SCATTERING EXPERIMENT
Status report for PRES collaboration
Vasilyev Alexander
Petersburg Nuclear Physics Institute, Russia

## Slide 2
Time Projection Chamber (TPC) detecting recoil protons will be used in
combination with a high precision Forward Tracker (FT) detecting the scattered electrons

## Slide 3
Electron beam
(working
position)
Electron beam
(calibration position)

## Slide 6
Forward tracker – the most important and expensive element of the detector
----------- 1st Day, March 30 -----------
14:30 – 15:00 Forward tracker. Design and construction of the MWPCs Sergey Mikirtychyants (PNPI)
----------- 2nd Day, March 31 -----------
9:00 – 9:25 Experimental studies of the MWPCs performance Gennady Gavrilov (PNPI)
Responsible person and producer is Boris Bochin
First proportional chambers working at 20 bar pressure
Space resolution and scale linearity is better than 50 µm
Unclear gas mixture
More than 2000 signals from 20 bar volume

## Slide 7
Opening is 800 mm

## Slide 8
Lord's Supper
Forward Detector flange
With
Support structure for
Forward Detector

## Slide 9
Signals from inside

## Slide 10
----------- 2nd Day, March 31 -----------
9:25 – 9:50 Readout system
Peter Neustroev (PNPI), confirmed

## Slide 11
Sophisticated gas system
Two circuits gas system – Hydrogen and Argon-Methane
20 bar at both circuit with a few mbar stability
Differential pressure between circuits is less than 50 mbar at any time
Hydrogen purity is better than 100 ppb (10-7)
Our team made more than 20 different gas systems.
This is the most complicated one!
----------- 2nd Day, March 31 -----------
9:50 – 10:15 Gas circulation/purification system Peter Kravtsov (PNPI)

## Slide 12
Time Projection Chamber (TPC) for PRES
This TPC stands in the long line of PNPI ionization chambers
IKAR, Muon Catalized Fusion, MuCap, MuSun, MuCF d+He3 (now), COMPASS AMBER (Future)
New:
The biggest size
Cathode voltage 100 kV
Unique (for TPCs) homogeneity of electrical field.
----------- 1st Day, March 30 -----------
14:00 – 14:30 TPC construction. Design of the electric field in TPC Kuzma Ivshin (PNPI)

## Slide 13
Cathode -100 kV
Correction ring -90 kV
Normalizing ring -90 kV
Correction ring -20 kV
Grid -7.5 kV
Anode
Polycarbonate
Support 30 mm
Polycarbonate insulators
Correction ring
TPC flange

## Slide 15
Beam Position Stabilization
---------- 1st Day, Tuesday March 30 -----------
13:00 – 13:30 Results of the previous test runs and preparations for the new test run Peter Kravtsov (PNPI)

## Slide 16
Mechanical elements of the detector (current work)
Elliptical flanges

## Slide 17
Mechanical elements of the detector (current work)
Support system

## Slide 18
Conclusion
In June-July 2021 mechanical part of the detector will be assembled completely
TPC will be assembled and tested before Fall 2021
FD will be ready in June-July 2021
Tests of 3 sections of FD on cosmic rays will be started in May
Our proposal to have test beam run in November 2021 in Mainz with
Electron beam position stabilization
Repeating measurements with beam current monitor and scintillators