## Slide 1: TPC construction. Design of the electric field in TPC
Kuzma Ivshin (PNPI)

## Slide 2: TPC construction

## Slide 3: TPC construction

## Slide 4: TPC construction

## Slide 5: TPC construction
1 GOhm
1.04668 GOhm
1.04668 GOhm
1.04668 GOhm
1.04668 GOhm
1.04668 GOhm
1.04668 GOhm
1.04668 GOhm
2.03627 GOhm
1-2 MOhm

## Slide 6: Modeling with fixed step potential
Coordinate of leveling ring (mm) | Potential on the ring (V)
0 | 7500
48.25 | 20000
88.45 | 30000
128.65 | 40000
168.85 | 50000
209.05 | 60000
249.25 | 70000
289.45 | 80000
329.65 | 90000
369.85 | 100000
Offset [mm] | Homoginity [%]
0 | 0.13
50 | 0.15
100 | 0.19
150 | 0.47
200 | 0.87
250 | 2.07

## Slide 7: Modeling with calculated ring’s potentials
Chart: Offset of potential on electrode(V)
| 48.25 | 88.45 | 128.65 | 168.85000000000002 | 209.05 | 249.25 | 289.45 | 329.65
Добавочный потенциал на электроде (V) | -350 | -250 | -150 | -50 | 50 | 150 | 250 | 350
Coordinate of leveling ring (mm) | Potential on the ring (V)
0 | 7500
48.25 | 19650
88.45 | 29750
128.65 | 39850
168.85 | 49950
209.05 | 60050
249.25 | 70150
289.45 | 80250
329.65 | 90350
369.85 | 100000

## Slide 8: Modeling with leveling rings offsets
Coordinate of leveling ring (mm) | Potential on the ring (V)
0 | 7500
48.25 | 19650
88.45 | 29750
128.65 | 39850
168.85 | 49950
209.05 | 60050
249.25 | 70150
289.45 | 80250
329.65 | 90350
369.85 | 100000
Offset [mm] | Homoginity [%]
0 | 0.028
50 | 0.031
100 | 0.043
150 | 0.087
200 | 0.15
250 | 0.51

## Slide 9: Modeling with HV inlet